Copyright 2020 AIA
MasterSpec Full Length
09/20 (PM updated 04/22)
PRODUCT MASTERSPEC LICENSED BY DELTEK, INC. TO KOLBE WINDOWS & DOORS

Copyright 2020 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA

This Product MasterSpec Section is licensed by Deltek, Inc. to Kolbe Windows & Doors ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, Deltek or The American Institute of Architects (AIA). Neither AIA nor Deltek are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Kolbe Windows & Doors, 1323 S. 11th Ave., Wausau, WI 54401; Phone (715) 842-5666; Website: www.kolbewindows.com; Email: professionals@kolbewindows.com.

For information about MasterSpec, contact Deltek at (800) 424-5080 or visit masterspec.com.

SECTION 081816.19 - SLIDING WOOD-FRAMED GLASS DOORS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Access Product MasterSpec Sections:

<Double click here to view the list of manufacturer Sections available at ProductMasterSpec.com>
Access BIM Content on BIMsmith Market:

<Double click here to view products on BIMsmith Market>
Revise this Section by deleting and inserting text to meet Project-specific requirements.

MasterSpec includes provisions for LEED v4, LEED v4.1, IgCC, and Green Globes.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Aluminum-clad sliding wood-framed glass doors.

2. Unclad sliding wood-framed glass doors.

B. Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Section 085200 "Wood Windows" for related wood-framed transom and sidelite windows and mullions.

2. [Section 087100 "Door Hardware"] [Section 087111 "Door Hardware (Descriptive Specification)"] for hardware not specified in this Section.

3. Section 099300 "Staining and Transparent Finishing" for on-site finishing of unfinished sliding wood-framed glass doors.

4. [Section 099113 "Exterior Painting"] [and] [Section 099123 "Interior Painting"] for on-site finishing of [unfinished] [and] [factory-primed] sliding wood-framed glass doors.

1.2 PREINSTALLATION MEETINGS

Retain "Preinstallation Conference" Paragraph below if Work of this Section is extensive or complex enough to justify a conference.

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.3 ACTION SUBMITTALS

Action submittals are submittals requiring responsive action and return of reviewed documents to Contractor.
A. Product Data: For each type of product.

1. Include construction details, material descriptions, fabrication methods, dimensions of individual components and profiles, hardware, finishes, and operating instructions.

B. Shop Drawings: For sliding wood-framed glass doors.

1. Include plans, elevations, sections, and details.

2. Detail attachments between units, if any.

Retain "Samples" Paragraph below for single-stage Samples, with a subordinate list if applicable. Retain "Samples for Initial Selection" or "Samples for Verification" Paragraph, or both.

C. Samples: For each exposed product and for each color specified, 12-inch- (300-mm-) long section with weather stripping, glazing bead, and factory-applied color finish.

D. Samples for Initial Selection: For units with factory-applied color finishes.

1. Include Samples of hardware and accessories involving color selection.

E. Samples for Verification: For sliding wood-framed glass doors and components required, prepared on Samples of size indicated below:

Retain "Main Framing Member" Subparagraph below with vinyl- or aluminum-clad doors. Delete if doors are not clad and are to be finished on-site. Retain and edit if Sample is required for verification of framing member profile for doors finished on-site.

1. Main Framing Member: 12-inch- (300-mm-) long section with weather stripping, glazing bead, and factory-applied color finish.

2. Hardware: Full-size units with factory-applied finish.

3. <Insert component>: <Insert description>.

F. Product Schedule: For sliding wood-framed glass doors.[ Use same designations indicated on Drawings.]
Retain "Sustainable Design Submittals" Paragraph below if required to attain sustainability rating or to track sustainability submittals.
G. Sustainable Design Submittals:

For Kolbe's FSC certificate, see https://info.fsc.org/details.php?id=a0240000005sVLmAAM&type=certificate.

1. Chain-of-Custody Certificates: For certified wood products. Include statement of costs.

"Chain-of-Custody Qualification Data" Subparagraph below applies to LEED v4 and LEED v4.1.

2. Chain-of-Custody Qualification Data: For manufacturer and vendor.
1.4 INFORMATIONAL SUBMITTALS

Informational submittals are submittals that require review by Architect, but they do not require Architect's responsive action and return of reviewed documents to Contractor, provided submittals comply with requirements. If rejected, submittals with responsive action must be returned to Contractor.

Coordinate "Qualification Data" Paragraph below with qualification requirements in Section 014000 "Quality Requirements" and as may be supplemented in "Quality Assurance" Article. Retain "testing agency" option if Contractor is providing testing in "Field Quality Control" Article.

A. Qualification Data: For [Installer] [and] [testing agency].

Retain option in "Product Test Reports" Paragraph below if manufacturers verify and their product literature indicates that sliding doors were tested in accordance with AAMA/WDMA/CSA procedures.

B. Product Test Reports: For each sliding wood-framed glass door, for tests performed by [manufacturer and witnessed by a qualified testing agency] [a qualified testing agency], and for each class and performance grade indicated, tested at AAMA gateway size.

C. Field Quality-Control Submittals:

Retain "Field quality-control reports" Subparagraph below if Contractor is responsible for field quality-control testing and inspecting in "Field Quality Control" Article.

1. Field quality-control reports.

D. Sample warranty.

1.5 CLOSEOUT SUBMITTALS

Delete option in "Maintenance Data" Paragraph below if sliding wood-framed doors are unfinished or prime-coated for site finishing.

A. Maintenance Data: For [finishes, ]weather stripping, operable panels, and operating hardware.

1.6 QUALITY ASSURANCE

Retain "Certified Wood" Paragraph below for LEED v4 and LEED v4.1, MRc "Building Product Disclosure and Optimization - Sourcing of Raw Materials, Option 2 - Leadership Extraction Practices."

For Kolbe's FSC certificate, see https://info.fsc.org/details.php?id=a0240000005sVLmAAM&type=certificate.

A. Certified Wood: Provide an invoice including vendor's chain-of-custody number, product cost, and entity being invoiced.

Retain "Vendor Qualifications" Paragraph below if required for LEED v4 and LEED v4.1.

B. Vendor Qualifications: A vendor that is certified for chain of custody by an FSC-accredited certification body.
C. Installer Qualifications: An installer acceptable to sliding wood-framed glass door manufacturer for installation of units required for this Project.

1.7 MOCKUPS

A. Build mockups to verify selections made under Sample submittals, to demonstrate aesthetic effects, and to set quality standards for fabrication and installation.

1. Build mockup for sliding wood-framed glass doors, as indicated on Drawings.

2. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Owner specifically approves such deviations by Change Order.

1.8 WARRANTY

When warranties are required and available, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Manufacturer's Special Warranty: Manufacturer agrees to repair or replace sliding wood-framed glass doors that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods for units and components; retain or insert numbers in remaining subparagraphs below.

1. Warranty Period:

a. Sliding Door: [Two] [Three] [Five] <Insert number> years from date of shipment and issued to Owner at Substantial Completion.

Warranty period for glazing units varies by type. Insulating-glass units typically have longer warranties than laminated glass. Some manufacturers may insist that warranties begin on date of manufacture or sale.

b. Insulating Glass: [10] [20] <Insert number> years from date of shipment and issued to Owner at Substantial Completion.

c. Laminated Glass: [Five] <Insert number> years from date of shipment and issued to Owner at Substantial Completion.

Warranty period for metal finish depends on type of finish. Baked-on enamel finishes often have 10-year warranties; high-performance fluoropolymer finishes often have 20-year warranties.

d. Metal Finish: [Five] [10] [20] <Insert number> years from date of shipment and issued to Owner at Substantial Completion.

Insert requirements for warranties on finishes for wood or vinyl cladding offered by some manufacturers.

PART 2 -  PRODUCTS

Manufacturers and products listed in this Section are neither recommended nor endorsed by the AIA or Deltek. Before selecting manufacturers and products, verify availability, suitability for intended applications, and compliance with minimum performance requirements. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

Product options commonly available from manufacturers are included in square brackets throughout the Section Text. Not every manufacturer listed can provide every option offered; verify availability with manufacturers. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

2.1 SOURCE LIMITATIONS
Revise this article to require sliding wood-framed glass doors to be provided by same manufacturer as wood windows specified in Section 085200 "Wood Windows."

A. Obtain sliding wood-framed glass doors from single source from single manufacturer.

2.2 PERFORMANCE REQUIREMENTS

See the Evaluations for discussion of establishing performance requirements using AAMA/WDMA/CSA 101/I.S.2/A440.

A. Product Standard: Comply with AAMA/WDMA/CSA 101/I.S.2/A440 for minimum standards of performance, materials, components, accessories, and fabrication unless more stringent requirements are indicated.

Retain "Product Certification" Subparagraph below if AAMA certification and labeling is needed. Not all manufacturers that test products in accordance with AAMA/WDMA/CSA 101/I.S.2/A440 requirements participate in AAMA's third-party certification program for listing and labeling sliding wood-framed glass doors.

1. Product Certification: AAMA certified with label attached to each door.

Coordinate performance class and grade with available options and features. Some options, such as thresholds, affect door performance, or may not be available for doors meeting selected performance class and grade.

B. Performance Class and Grade: AAMA/WDMA/CSA 101/I.S.2/A440 as follows:

For Kolbe's "Ultra Series," "Forgent Complementary," "VistaLuxe Collection," and "Heritage Series" sliding doors performance class and grade, see www.kolbewindows.com/resources/professional-tools/performance-class-grade.

1. Minimum Performance Class: [Class R] [Class LC] [Class CW] [As indicated on Drawings] <Insert class>.

AAMA/WDMA/CSA 101/I.S.2/A440 establishes a gateway Performance Grade for sliding doors to qualify for each Performance Class. The gateway Performance Grade is 25 for Class LC, 30 for Class CW, and 40 for Class AW. For a particular project, the minimum Performance Grade for sliding doors is typically based on the design pressure.

2. Minimum Performance Grade: [Grade 20] [Grade 25] [Grade 30] [Grade 35] [Grade 40] [Grade 45] [Grade 50] [Grade 65] [Grade 70] [Grade 75] [As indicated on Drawings] <Insert grade>.

Retain "Thermal Transmittance" Paragraph below if required to comply with requirements of authorities having jurisdiction. First option is the ENERGY STAR requirement for sliding entry doors with 1/2-lite or larger (29.8 percent of door area by ENERGY STAR definition) and applies in the entire United States. Requirements of authorities having jurisdiction may exceed the ENERGY STAR minimum. Second and third options are examples; confirm availability with manufacturers.

For Kolbe's sliding patio doors "Energy Performance," see www.kolbewindows.com/resources/professional-tools/energy-performance.

C. Thermal Transmittance: NFRC 100 maximum total fenestration product U-factor of [0.20 Btu/sq. ft. x h x deg F (1.14 W/sq. m x K)] [0.22 Btu/sq. ft. x h x deg F (1.25 W/sq. m x K)] [0.25 Btu/sq. ft. x h x deg F (1.42 W/sq. m x K)] [0.32 Btu/sq. ft. x h x deg F (1.83 W/sq. m x K)] [0.54 Btu/sq. ft. x h x deg F (3.06 W/sq. m x K)] [0.56 Btu/sq. ft. x h x deg F (3.17 W/sq. m x K)] <Insert value>.

Options in "Solar Heat-Gain Coefficient (SHGC)" Paragraph below are based on ENERGY STAR requirements effective January 2010. First option is the ENERGY STAR requirement for sliding entry doors with glazing and applies in the entire United States. Requirements of authorities having jurisdiction may exceed the ENERGY STAR minimum.

D. Solar Heat-Gain Coefficient (SHGC): NFRC 200 maximum total fenestration product SHGC of [0.30] [0.27] <Insert value>.

Retain "Sound Transmission Class (STC)" or "Outside-Inside Transmission Class (OITC)" Paragraph below after verifying availability of test data. STC evaluates construction subject to interior, spoken-voice frequencies, while OITC evaluates using a sound-frequency range with lower frequencies more representative of transportation noise, which building envelopes are more likely to experience. OITC is generally a better evaluation method for exterior fenestration, but fewer manufacturers have OITC test data available. Some manufacturers can provide special glazing to improve acoustical performance.

Kolbe's sliding doors range from 28 and 33 STC. For more information, see www.kolbewindows.com/resources/professional-tools/acoustic.

E. Sound Transmission Class (STC): Rated for not less than [28] [31] [33] <Insert rating> STC when tested for laboratory sound transmission loss in accordance with ASTM E90 and determined by ASTM E413.
Kolbe's sliding doors range from 23 and 29 OITC. For more information, see www.kolbewindows.com/resources/professional-tools/acoustic.

F. Outside-Inside Transmission Class (OITC): Rated for not less than [23] [28] [29] <Insert rating> OITC when tested for laboratory sound transmission loss in accordance with ASTM E90 and determined by ASTM E1332.

Retain "Windborne-Debris Impact Resistance" Paragraph below to suit Project. The IBC establishes criteria for buildings in hurricane-prone locations. In paragraph, "enhanced" option applies to essential facilities and has additional requirements. Verify requirements of authorities having jurisdiction. Verify which manufacturers have tested products and can demonstrate compliance.

G. Windborne-Debris Impact Resistance: Passes ASTM E1886 missile-impact and cyclic-pressure tests in accordance with ASTM E1996 for Wind Zone [1] [2] [3] [4] for [basic] [enhanced] protection.

Insert increased heights if different from those in "Large-Missile Test" and "Small-Missile Test" subparagraphs below. For enhanced protection, delete "Small-Missile Test" Subparagraph.

1. Large-Missile Test: For glazing located within [30 ft. (9.1 m)] <Insert dimension> of grade.

2. Small-Missile Test: For glazing located between 30 ft. (9.1 m) and [60 ft. (18.3 m)] <Insert dimension> above grade.

2.3 ALUMINUM-CLAD SLIDING WOOD-FRAMED GLASS DOORS

A broad range of quality exists among manufacturers and among product lines of individual manufacturers. Consider specifying specific models from acceptable manufacturers. See the Evaluations.

Lists below include some sliding wood-framed glass door manufacturers that certify their products comply with AAMA/WDMA performance standards. Retain manufacturers that produce types required and whose products correspond with performance requirements specified. Insert other manufacturers if required.

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed.
A. Basis-of-Design Product: Subject to compliance with requirements, provide Kolbe Windows & Doors; [Forgent Series Complementary Sliding Patio Doors] [Ultra Series Garden-Aire Sliding Patio Door] [Ultra Series Multi-Slide Doors] [Ultra Series TerraSpan Lift & Slide Doors] [VistaLuxe Collection Sliding Patio Door] [VistaLuxe Complementary Multi-Slide Doors] or comparable product by one of the following:
1. Loewen Windows. 
2. Marvin Windows and Doors.

3. <Insert manufacturer's name>.

Retain first option in "Exterior Surfaces" Paragraph below for Kolbe's "Ultra Series" or "VistaLuxe WD LINE" standard finish; retain second option for coastal and heavy salt concentration areas.

B. Exterior Surfaces: Aluminum cladding with manufacturer's standard [silicon modified polyester (SMP) coating complying with AAMA 2604] [fluoropolymer two-coat system with fluoropolymer color topcoat containing not less than 70 percent PVDF resin by weight and complying with AAMA 2605] [anodized coating] [mica coating complying with AAMA 2605].

1. PVDF Color: [Abalone] [Alabaster] [Anchor gray] [Basil] [Beige] [Bronze] [Camel] [Castlerock] [Chutney] [Cider] [Cloud] [Coal black] [Coastal storm] [Copper canyon] [Corbeau] [Emerald isle] [Custom color] [Gingersnap] [Green tea leaf] [Hartford green] [Khaki] [Lunar] [Maize] [Mediterranean] [Midnight] [Mystic ivy] [Mudpie] [Nutmeg] [Natural cotton] [Onyx] [Papaya] [Roma] [Rustic] [Sahara] [Sapphire] [Shadow] [Shale] [Slate] [Smokestack] [Spiced vinegar] [Steel gray] [Timberwolf] [Truffle] [Ultra pure white] [White] <Insert color>.

2. Anodized Color: [Black] [Champagne] [Clear] [Dark bronze].

3. Mica Color: [Cosmic gray] [Galaxy silver] [Night sky] [Silverstorm].

C. Interior Surfaces: [Unfinished] [Manufacturer's standard factory-applied primer] [Manufacturer's standard factory-applied color finish] [Manufacturer's standard clear coat] [Manufacturer's standard stain-and varnish-finish] <Insert finish>.

Retain "Wood Species" Subparagraph below for unfinished or varnished wood.

Kolbe's standard wood species is "Pine"; custom wood species other than those listed may be requested.

1. Wood Species: [Pine] [Alder] [Bamboo] [Cherry] [Mahogany] [Maple] [Knotty alder] [Mixed grain fir] [Oak] [Sapele] [Spanish cedar] [Vertical grain fir] [Walnut] [White oak] <Insert species>.

Retain "Wood Stain Color" or "Paint Color" Subparagraph below for factory-applied color or stain-and-varnish finish.

2. Wood Stain Color: [Cherry] [Chestnut] [Coffee bean] [Double clear coat] [Ebony] [Library red] [Light oak] [Red wheat] [Spiced walnut] [Sunset oak] [Wheat] <Insert color>.

3. Paint Color: [Abalone] [Bright white] [Coal black] [Graystone] [Ivory tusk] [Misty gray] [Natural cotton] [Silk] [Ultra pure white] <Insert color>.

Retain one profile option in "Frames and Door Panels" Paragraph below or edit to require nominal dimensions. Door styles often referred to as "French doors" typically have wider stiles and rails and false or true muntins. Products often referred to as "builder's" lines tend to have narrower profiles. A broad range of quality exists between manufacturers, and within various product lines of individual manufacturers. See the Evaluations. Some manufacturers provide knocked-down frames for field assembly. Larger units with multiple door panels may require field assembly due to shipping limitations. Consult manufacturers.

D. Frames and Door Panels: Fabricate from wood components complying with indicated requirements. Provide factory-assembled [narrow] [standard] [wide]-profile door panels and [factory-assembled] [or] [field-assembled] frames.

First "Certified Wood" Paragraph below applies to LEED v4 and LEED v4.1. Manufacturers certifying products as "FSC Mixed Credit" do not have to use 100 percent certified wood in the products; however, in their total production, manufacturers must use an amount equal to or greater than the percentage of their production that is labeled "FSC Mixed Credit."

For Kolbe's FSC certificate, see https://info.fsc.org/details.php?id=a0240000005sVLmAAM&type=certificate.

E. Certified Wood: Wood doors to be certified as "FSC Pure"[ or "FSC Mixed Credit"] in accordance with FSC STD-01-001 and FSC STD-40-004.

First "Certified Wood" Paragraph below applies to IgCC.

F. Certified Wood: Wood doors to be labeled in accordance with the AF&PA's Sustainable Forestry Initiative, be certified as "FSC Pure" in accordance with FSC STD-01-001 and FSC STD-40-004, or be certified and labeled in accordance with the standards of the Programme for Endorsement of Forest Certification.

First "Certified Wood" Paragraph below applies to ASHRAE 189.1.

G. Certified Wood: Wood doors to [contain not less than 60 percent] [be made from] certified wood tracked through a chain-of-custody process. Certified wood documentation to be provided by sources certified through a forest certification system with principles, criteria, and standards developed using ISO/IEC Guide 59 or the World Trade Organization's "Technical Barriers to Trade."

"Certified Wood" Paragraph below applies to Green Globes.

H. Certified Wood: Wood doors to be certified in accordance with the American Tree Farm System's "AFF Standard," the AF&PA's Sustainable Forestry Initiative, FSC STD-01-001 and FSC STD-40-004, or the standards of the Programme for Endorsement of Forest Certification.
I. Wood Components: Manufacturer's standard LVL or fine-grained wood lumber complying with AAMA/WDMA/CSA 101/I.S.2/A440; kiln-dried to a moisture content of not more than 12 percent at time of fabrication; free of visible finger joints, blue stain, knots, pitch pockets, and surface checks larger than 1/32 inch (0.8 mm) deep by 2 inches (51 mm) wide; water-repellent preservative treated.

Some manufacturers offer multiple profiles for glazing stops and trim. Casing profiles include brick mold, flat, and stucco receptor. Jamb extensions are also available. Revise "Trim and Glazing Stops" Paragraph below if specific members and profiles are not indicated on Drawings. Trim to match exterior material and finish; glazing stops to match interior material and finish.
J. Trim and Glazing Stops: Material and finish to match adjacent door panel.

K. Casing: Extruded-aluminum [1-5/8-inch (41-mm) brickmould] [1-15/16-inch (49-mm) brickmould] [2-inch (51-mm) flat casing] [2-inch (51-mm) flat casing with backband] [3-1/2-inch (89-mm) flat casing] [3-1/2-inch (89-mm) flat casing with backband] [3-1/2-inch (89-mm) profiled brickmould] [beaded casing] [beaded casing with backband] [bullnose casing] [historic brickmould] [ogee casing] [pavilion brickmould] [stucco trim casing].

Retain "Mullions" Paragraph below if required. Coordinate with similar requirements for mullions in Section 085200 "Wood Windows" for installations with door and window unit combinations where units are joined by independent or integral mullions.

L. Mullions: Provide mullions and mullion casing and cover plates as shown, matching door units, complete with anchors for support to structure and installation of sliding wood-framed glass door units. Allow for erection tolerances and provide for movement of door units due to thermal expansion and building deflections, as indicated. Provide mullions and cover plates capable of withstanding design loads of door units.

"Nailing Fin" Paragraph below is typically used with sliding wood-framed glass doors. Fins may also be part of water-/weather-resistive barrier assemblies. Some manufacturers provide nailing fins as an option. Verify availability and function with manufacturers.

M. Nailing Fin: Manufacturer's standard nailing fins for securing frame to structure during installation to hold unit plumb, square, and true; provide sufficient strength to withstand design pressure indicated.

Some manufacturers provide drip caps as an accessory for installations that do not use a nailing fin.

N. Drip Caps: Factory-fabricated material; designed to direct water away from building when installed horizontally at head of sliding wood-framed glass doors.

O. Threshold and Sill Cap/Track: Provide pultruded fiberglass threshold with aluminum sill nosing and wood interior threshold of thickness, dimensions, and profile indicated; designed to comply with performance requirements indicated and to drain to exterior.

1. Color: Bronze anodized.

2.4 UNCLAD SLIDING WOOD-FRAMED GLASS DOORS

A broad range of quality exists among manufacturers and among product lines of individual manufacturers. Consider specifying specific models from acceptable manufacturers. See the Evaluations.

Lists below include some sliding wood-framed glass door manufacturers that certify their products comply with AAMA/WDMA performance standards. Retain manufacturers that produce types required and whose products correspond with performance requirements specified. Insert other manufacturers if required.

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed.
For Kolbe's "Heritage Series" swinging patio doors, see www.kolbewindows.com/doors/heritage-sliding-patio.

A. Basis-of-Design Product: Subject to compliance with requirements, provide Kolbe Windows & Doors; Heritage Garden-Aire Sliding Doors or comparable product by one of the following:
1. Loewen Windows. 
2. Marvin Windows and Doors.

3. <Insert manufacturer's name>.

B. Exterior Surfaces: [Manufacturer's standard factory-applied color finish] [Manufacturer's standard factory-applied latex primer] [Manufacturer's standard factory-applied oil primer] [Unfinished].

Retain "Paint Color" Subparagraph below for factory-applied color finish or modify for any RAL custom paint color.

1. Paint Color: [Abalone] [Alabaster] [Anchor gray] [Basil] [Beige] [Camel] [Castlerock] [Cloud] [Chutney] [Cider] [Coastal storm] [Copper canyon] [Emerald isle] [Gingersnap] [Green tea leaf] [Hartford green] [Khaki] [Lunar] [Maize] [Mediterranean] [Mudpie] [Mystic ivy] [Natural cotton] [Nutmeg] [Papaya] [Roma] [Rustic] [Sahara] [Sapphire] [Shadow] [Shale] [Slate] [Smokestack] [Spiced vinegar] [Steel gray] [Timberwolf] [Truffle] [Ultra pure white] [White].

Kolbe's standard wood species is "Pine"; custom wood species other than that listed may be requested.

2. Wood Species: [Pine] [Alder] [Bamboo] [Cherry] [Fir] [Mahogany] [Maple] [Knotty alder] [Mixed grain fir] [Oak] [Sapele] [Spanish cedar] [Vertical grain fir] [Walnut] [White oak].

C. Interior Surfaces: [Unfinished] [Manufacturer's standard factory-applied primer] [Manufacturer's standard factory-applied color finish] [Manufacturer's standard clear coat] [Manufacturer's standard stain-and-varnish finish].

Retain "Wood Species" Subparagraph below for unfinished or varnished wood.

Kolbe's standard wood species is "Pine"; custom wood species other than those listed may be requested.

1. Wood Species: [Pine] [Alder] [Bamboo] [Cherry] [Mahogany] [Maple] [Knotty alder] [Mixed grain fir] [Oak] [Sapele] [Spanish cedar] [Vertical grain fir] [Walnut] [White oak].

Retain "Wood Stain Color" or "Paint Color" Subparagraph below for factory-applied color finish.

2. Wood Stain Color: [Cherry] [Chestnut] [Coffee bean] [Double clear coat] [Ebony] [Library red] [Light oak] [Red wheat] [Spiced walnut] [Sunset oak] [Unfinished pine] [Wheat] <Insert color>.

3. Paint Color: [Abalone] [Bright white] [Coal black] [Graystone] [Ivory tusk] [Misty gray] [Natural cotton] [Silk] [Ultra pure white] <Insert color>.

Retain one profile option in "Frames and Door Panels" Paragraph below or edit to require nominal dimensions. Door styles often referred to as "French doors" typically have wider stiles and rails and false or true muntins. Products often referred to as "builder's" lines tend to have narrower profiles. A broad range of quality exists between manufacturers, and within various product lines of individual manufacturers. See the Evaluations. Some manufacturers provide knocked-down frames for field assembly. Larger units with multiple door panels may require field assembly due to shipping limitations. Consult manufacturers.

D. Frames and Door Panels: Fabricate from wood components complying with indicated requirements. Provide factory-assembled [narrow] [standard] [wide-]-profile door panels and [factory-assembled] [or] [field-assembled] frames.

Delete "True Divided Lites" Paragraph below if muntins are not required, or if applied grilles (false muntins) are used. Applied grilles are specified in "Grilles (False Muntins)" Paragraph in "Accessories" Article.

E. True Divided Lites: Provide glazing with true muntins resulting in individually glazed lites, in pattern indicated.

1. Wood Species: To match adjacent door panel.

2. Design: [Rectangular] [As indicated on Drawings] <Insert design>.

3. Bar Width: Not less than 1-1/8 inches (28 mm) wide.

4. Interior Bar Profile: [Beveled] [Ovolo].

5. Exterior Finish: [Manufacturer's standard factory-applied primer] [Manufacturer's standard factory-applied color finish] [Unfinished].

a. Exterior Paint Color: [Abalone] [Alabaster] [Anchor gray] [Basil] [Beige] [Camel] [Castlerock] [Cloud] [Chutney] [Cider] [Coastal storm] [Copper canyon] [Emerald isle] [Gingersnap] [Green tea leaf] [Hartford green] [Khaki] [Lunar] [Maize] [Mediterranean] [Mudpie] [Mystic ivy] [Natural cotton] [Nutmeg] [Papaya] [Roma] [Rustic] [Sahara] [Sapphire] [Shadow] [Shale] [Slate] [Smokestack] [Spiced vinegar] [Steel gray] [Timberwolf] [Truffle] [Ultra pure white] [White] <Insert color>.

6. Interior Finish: [Unfinished] [Manufacturer's standard factory-applied primer] [Manufacturer's standard factory-applied color finish] [Manufacturer's standard clear coat] [Manufacturer's standard stain-and varnish-finish] <Insert color>.

a. Interior Stain Color: [Cherry] [Chestnut] [Coffee bean] [Double clear coat] [Ebony] [Library red] [Light oak] [Red wheat] [Spiced walnut] [Sunset oak] [Unfinished pine] [Wheat].

b. Interior Paint Color: [Abalone] [Bright white] [Coal black] [Graystone] [Ivory tusk] [Misty gray] [Natural cotton] [Silk] [Ultra pure white] <Insert color>.

First "Certified Wood" Paragraph below applies to LEED v4 and LEED v4.1. Manufacturers certifying products as "FSC Mixed Credit" do not have to use 100 percent certified wood in the products; however, in their total production, manufacturers must use an amount equal to or greater than the percentage of their production that is labeled "FSC Mixed Credit."

For Kolbe's FSC certificate, see https://info.fsc.org/details.php?id=a0240000005sVLmAAM&type=certificate.

F. Certified Wood: Wood doors to be certified as "FSC Pure"[ or "FSC Mixed Credit"] in accordance with FSC STD-01-001 and FSC STD-40-004.

First "Certified Wood" Paragraph below applies to IgCC.

G. Certified Wood: Wood doors to be labeled in accordance with the AF&PA's Sustainable Forestry Initiative, be certified as "FSC Pure" in accordance with FSC STD-01-001 and FSC STD-40-004, or be certified and labeled in accordance with the standards of the Programme for Endorsement of Forest Certification.

First "Certified Wood" Paragraph below applies to ASHRAE 189.1.

H. Certified Wood: Wood doors to [contain not less than 60 percent] [be made from] certified wood tracked through a chain-of-custody process. Certified wood documentation to be provided by sources certified through a forest certification system with principles, criteria, and standards developed using ISO/IEC Guide 59 or the World Trade Organization's "Technical Barriers to Trade."

"Certified Wood" Paragraph below applies to Green Globes.

I. Certified Wood: Wood doors to be certified in accordance with the American Tree Farm System's "AFF Standard," the AF&PA's Sustainable Forestry Initiative, FSC STD-01-001 and FSC STD-40-004, or the standards of the Programme for Endorsement of Forest Certification.
J. Wood Components: Manufacturer's standard LVL or fine-grained wood lumber complying with AAMA/WDMA/CSA 101/I.S.2/A440; kiln-dried to a moisture content of not more than 12 percent at time of fabrication; free of visible finger joints, blue stain, knots, pitch pockets, and surface checks larger than 1/32 inch (0.8 mm) deep by 2 inches (51 mm) wide; water-repellent preservative treated.

Some manufacturers offer multiple profiles for glazing stops and trim. Casing profiles include brick mold, flat, and stucco receptor. Jamb extensions are also available. Revise "Trim and Glazing Stops" Paragraph below if specific members and profiles are not indicated on Drawings. Trim to match exterior material and finish; glazing stops to match interior material and finish.
K. Trim and Glazing Stops: Material and finish to match adjacent door panel.

Retain "Mullions" Paragraph below if required. Coordinate with similar requirements for mullions in Section 085200 "Wood Windows" for installations with door and window unit combinations where units are joined by independent or integral mullions.

L. Mullions: Provide mullions and mullion casing and cover plates as shown, matching door units, complete with anchors for support to structure and installation of sliding wood-framed glass door units. Allow for erection tolerances and provide for movement of door units due to thermal expansion and building deflections, as indicated. Provide mullions and cover plates capable of withstanding design loads of door units.

Revise "Threshold and Sill Cap/Track" Paragraph below for thermally broken threshold or for another finish. Insert requirements for wood, polycarbonate, stainless steel, or composite threshold and track. Some manufacturers may use other materials. Coordinate with performance requirements for air infiltration and water penetration. Verify requirements of authorities having jurisdiction.

M. Threshold and Sill Cap/Track: Provide pultruded fiberglass threshold with aluminum of thickness, dimensions, and profile indicated; designed to comply with performance requirements indicated and to drain to exterior.

1. Color: Bronze.

2.5 GLAZING

Revise "Glass and Glazing" Paragraph below for custom glass or glazing requirements if available from manufacturers.

A. Glass and Glazing: Manufacturer's standard glazing system that produces weathertight seal.[ Comply with requirements for windborne-debris resistance.] <Insert glazing requirements.>

1. Glass: ASTM C1036, Type 1, q3, Category II safety glass complying with testing requirements in 16 CFR 1201.

Retain "Safety Glazing Labeling" Subparagraph below if applicable and if labeling is required. Not all manufacturers participate in third-party testing programs.

2. Safety Glazing Labeling: Permanently mark safety glazing with certification label of [the SGCC] [the SGCC or another certification agency acceptable to authorities having jurisdiction] [or] [manufacturer]. Label indicates manufacturer's name, type of glass, thickness, and safety glazing standard with which glass complies.

3. Tint: [Clear] [Gray] [Bronze] [Green] <Insert tint>.

Delete "Insulating-Glass Units" Subparagraph below if using monolithic glazing. Retain option in subparagraph after verifying that manufacturers obtain glass units from glass manufacturers that participate in the Insulating Glass Certification Council program.

4. Insulating-Glass Units: ASTM E2190[, certified through IgCC as complying with requirements of IgCC].

a. Filling: Fill space between glass lites with [air] [argon].

b. Lites: [Two] [Three].

Retain first or second option in "Low-E Coating" Subparagraph below for Kolbe's "Solar Low-E," "Solar Gain Low-E," "Solar Control Low-E," or "Solar Advanced Control Low-E"; retain third option for "ThermaPlus Low-E"; retain fourth option for triple-pane glazing.
c. Low-E Coating: [Pyrolytic on second surface] [Sputtered on second surface] [Sputtered on second or fourth surface] [Sputtered on second or fifth surface].

5. Dual Glazing:

a. Interior Lite: [Glass] <Insert type>.

b. Exterior Lite: [Glass] [Insulating-glass unit] <Insert type>.

2.6 HARDWARE

Nonmagnetic stainless steel, Series 300, or a superior corrosion-resistant-coated metal may be required to meet specific customer or regional needs and for protection against corrosive environments, such as in urban, coastal, or industrial areas.

A. General: Provide manufacturer's standard hardware, fabricated from a corrosion-resistant material compatible with wood[ and aluminum cladding] complying with AAMA 907; designed to smoothly operate, tightly close, and securely lock sliding wood-framed glass doors; and sized to accommodate panel weight and dimensions.

Revise "Door Pulls" Paragraph below if optional, better-quality door pulls are available from manufacturer and are required to suit Project.

B. Door Pulls: Provide manufacturer's standard metal pull grips.

Revise "Lock" Paragraph below to suit Project's locking requirements, or insert others. Multipoint locking devices improve security and performance. Include key-operated cylinders here or in Section 087100 "Door Hardware."

C. Lock: Install manufacturer's keyed cylinder lock and [multipoint ]locking device on each movable panel, lockable from the inside [only] [and outside]. Adjust locking device to allow unobstructed movement of the panel across adjacent panel in the direction indicated.

1. Keying System: [All cylinders keyed alike] [Keyed to match other building entrances] <Insert instructions>.

Retain "Security Foot Bolt" Paragraph below if security foot bolt is required or available. Some manufacturers offer a foot bolt as standard hardware; for others, it is an option. If retaining, revise to suit selected manufacturers' standard equipment (such as bolt attached to track or frame instead of bottom rail).

D. Security Foot Bolt: Provide security foot-operated dead bolt attached to bottom rail of movable sliding door panels to lock the panel when fully closed and when partially open to permit ventilation.

E. Limit Stops: Resilient rubber.

2.7 INSECT SCREENS

Manufacturers' designs may incorporate screens on inside or outside of door. Review availability and revise "General" Paragraph below if limiting screen location.

A. General: Design sliding aluminum-framed glass doors to accommodate screens in a tight-fitting, removable arrangement fully integrated with door frame. Locate screens on the [inside] [outside] of door and provide for each operable door panel. Comply with SMA 1201.

Retain first option in "Insect Screen Frames" Paragraph below if only heavy-duty, extruded-aluminum frames are suitable for Project. Extruded-aluminum frames may be standard or optional with each manufacturer; revise paragraph accordingly. Screens that roll away are available from some manufacturers.

B. Insect Screen Frames: Manufacturer's standard [extruded-aluminum] [or] [formed-tubular-aluminum] members, with mitered or coped joints, concealed fasteners, adjustable rollers, and removable PVC or PE spline/anchor concealing edge of mesh. Provide finish to match door frame.

Retain "Glass-Fiber Mesh Fabric" or "Aluminum Wire Fabric" Paragraph below or insert another.

Retain first option below for Kolbe's standard "BetterVue" screen; retain second option for "UltraVue."

C. Glass-Fiber Mesh Fabric: ASTM D3656, [18-by-16 (1.0-by-1.1-mm] [18-by-18 (1.0-by-1.0-mm] count per sq. in. (sq. mm) mesh of PVC-coated, glass-fiber threads; woven and fused to form a fabric mesh resistant to corrosion, shrinkage, stretch, impact damage, and weather deterioration.
1. Mesh Color: Black.

D. Aluminum Wire Fabric: 18-by-16 (1.1-by-1.3-mm) mesh of 0.011-inch-diameter (0.28-mm-diameter) coated aluminum wire.

1. Wire-Fabric Finish: [Brite coat] [Charcoal] aluminum.

E. Hardware: Manufacturer's standard noncorrosive metal.

1. Lock: Manufacturer's standard pull and keyless locking device on each movable panel, lockable from inside only designed to allow unobstructed movement of panel across adjacent panel.

2.8 ACCESSORIES

Retain "Grilles (False Muntins)" Paragraph below if grilles are required; delete if using muntins (true divided lites) specified in "True Divided Lites" Paragraph in "Unclad Sliding Wood-Framed Glass Doors" Article.. Some manufacturers have a limited range of options for grilles; confirm availability.

A. Grilles (False Muntins): Provide grilles in designs indicated, for each panel lite.

1. Type: Exterior and interior, adhered to glass with bars between the glass.

2. Material: To match adjacent finish of door panel.

3. Design: [Rectangular] [Diamond] [As indicated on Drawings] <Insert design>.

4. Bar Width: Not less than [5/8 inch (16 mm)] [7/8 inch (22 mm)] [1-1/8 inches (28 mm)] [1-3/8 inches (35 mm)] [1-3/4 inches (44.5 mm)] [2-1/4 inches (28 mm)] [4-1/2 inches (114 mm)] wide.

Retain first, second, or third option in "Interior Bar Profile" Subparagraph below for Kolbe's "Heritage Series" or "Ultra Series"; retain third or fourth option for "VistaLuxe Collection."

5. Interior Bar Profile: [Beveled] [Ovolo] [Square] [Triangular].

Retain first option in "Exterior Aluminum Finish" Paragraph below for Kolbe's "Ultra Series" or "VistaLuxe WD LINE" standard finish; retain second option for coastal and heavy salt concentration areas.

6. Exterior Aluminum Finish: Aluminum cladding with manufacturer's standard [silicon modified polyester (SMP) coating complying with AAMA 2604] [fluoropolymer two-coat system with fluoropolymer color topcoat containing not less than 70 percent PVDF resin by weight and complying with AAMA 2605] [anodized coating] [mica coating complying with AAMA 2605].

a. SMP or PVDF Color: [Abalone] [Alabaster] [Anchor gray] [Basil] [Beige] [Bronze] [Camel] [Castlerock] [Chutney] [Cider] [Cloud] [Coal black] [Coastal storm] [Copper canyon] [Corbeau] [Emerald isle] [Custom color] [Gingersnap] [Green tea leaf] [Hartford green] [Khaki] [Lunar] [Maize] [Mediterranean] [Midnight] [Mystic ivy] [Mudpie] [Nutmeg] [Natural cotton] [Onyx] [Papaya] [Roma] [Rustic] [Sahara] [Sapphire] [Shadow] [Shale] [Slate] [Smokestack] [Spiced vinegar] [Steel gray] [Timberwolf] [Truffle] [Ultra pure white] [White] <Insert color>.

b. Anodized Color: [Black] [Champagne] [Clear] [Dark bronze].

c. Mica Color: [Cosmic gray] [Galaxy silver] [Night sky] [Silverstorm].

7. Exterior Wood Finish: [Manufacturer's standard factory-applied primer] [Manufacturer's standard factory-applied color finish] [Unfinished].

a. Exterior Paint Color: [Abalone] [Alabaster] [Anchor gray] [Basil] [Beige] [Camel] [Castlerock] [Chutney] [Cider] [Cloud] [Coastal storm] [Copper canyon] [Emerald isle] [Gingersnap] [Green tea leaf] [Hartford green] [Lunar] [Maize] [Mediterranean] [Mudpie] [Mystic ivy] [Nutmeg] [Khaki] [Natural cotton] [Papaya] [Roma] [Rustic] [Sahara] [Sapphire] [Shadow] [Shale] [Slate] [Smokestack] [Spiced vinegar] [Steel gray] [Timberwolf] [Truffle] [Ultra pure white] [White] <Insert color>.

8. Interior Finish: [Unfinished] [Manufacturer's standard factory-applied primer] [Manufacturer's standard factory-applied color finish] [Manufacturer's standard clear coat] [Manufacturer's standard stain-and varnish-finish].

a. Interior Stain Color: [Cherry] [Chestnut] [Coffee bean] [Double clear coat] [Ebony] [Library red] [Light oak] [Red wheat] [Spiced walnut] [Sunset oak] [Wheat] <Insert color>.

b. Interior Paint Color: [Abalone] [Bright white] [Coal black] [Graystone] [Ivory tusk] [Misty gray] [Natural cotton] [Silk] [Ultra pure white] <Insert color>.

B. Fasteners: Noncorrosive and compatible with door members, trim, hardware, anchors, and other components.

Generally, retain "Exposed Fasteners" Subparagraph below. Revise if exposed fasteners are permitted.

1. Exposed Fasteners: Do not use exposed fasteners to greatest extent possible. For application of hardware, use fasteners that match finish hardware being fastened.

C. Anchors, Clips, and Accessories: Provide anchors, clips, and accessories of aluminum, nonmagnetic stainless steel, or zinc-coated steel or iron for sliding wood-framed glass doors, complying with ASTM B456 or ASTM B633 for SC 3 severe service conditions; provide sufficient strength to withstand design pressure indicated.

1. Windborne-Debris Resistance: Provide anchors of same design used in windborne-debris resistance testing.

2.9 FABRICATION

A. Fabricate sliding wood-framed glass doors in sizes indicated. Include a complete system for assembling components and anchoring doors.

B. Fabricate sliding wood-framed glass doors that are reglazable without dismantling panel framing.

C. Weather Stripping: Provide weather stripping for each door panel unless otherwise indicated.

D. Factory-machine sliding wood-framed glass doors for openings and hardware that is not surface applied.

E. Complete fabrication, assembly, finishing, hardware application, and other work in the factory to greatest extent possible. Disassemble components only as necessary for shipment and installation. Allow for scribing, trimming, and fitting at Project site.

F. Factory-Glazed Fabrication: Glaze sliding wood-framed glass doors in the factory.

2.10 WOOD FINISHES

Delete this article if finished, aluminum-clad sliding wood-framed glass doors without primed interior surfaces or if unfinished sliding wood-framed glass doors are required.

A. Factory-Applied Primer: Provide manufacturer's standard factory-applied prime coat complying with WDMA T.M. 11.

First option in "Factory-Applied Color Finish" Paragraph below is for pigmented (paint) coatings suitable for exterior exposure.

B. Factory-Applied Color Finish: Provide manufacturer's standard factory-applied finish [complying with WDMA T.M. 12] <Insert manufacturer's standard finish>.

2.11 ALUMINUM FINISHES

If retaining more than one finish in paragraphs below, indicate location of each on Drawings or by inserts.

A. Silicon Modified Polyester (SMP): AAMA 2604; epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

Retain "Basis-of-Design Product" Subparagraph below to identify a specific product or a comparable product.
For Kolbe's "Vantage Exterior SMP Finish" catalogue, see www.kolbewindows.com/resources/brochures.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Kolbe Windows & Doors; Vantage Exterior SMP Finish or comparable product.
B. High-Performance Organic Finish: Two-coat fluoropolymer finish complying with AAMA 2605 and containing not less than 70 percent PVDF resin by weight in color coat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

C. Mica Fluoropolymer: AAMA 2605. Two-coat fluoropolymer finish with suspended mica flakes containing not less than 70 percent PVDF resin by weight in color coat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

D. Color Anodic Finish: AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine openings, substrates, structural support, anchorage, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

B. Verify rough opening dimensions, levelness of threshold substrate, and operational clearances.

C. Examine wall flashings, vapor retarders, water and weather barriers, and other built-in components to ensure a coordinated, weathertight sliding door installation.

D. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. Comply with Drawings, Shop Drawings, and manufacturer's written instructions for installing sliding doors, hardware, accessories, and other components.

Retain "Windborne-Debris Resistance" Paragraph below for installations requiring windborne-debris resistance. Proper anchorage of units is necessary to maintain performance as tested.

B. Windborne-Debris Resistance: Anchor sliding wood-framed glass doors that have been tested for windborne-debris resistance to structure using anchoring method, fastener type, and fastening frequency identical to that used in windborne-debris resistance testing.

C. Install sliding wood-framed glass doors level, plumb, square, true to line, without distortion, without warp or rack of frames and panels, and without impeding thermal movement; anchored securely in place to structural support; and in proper relation to wall flashing, vapor retarders, air barriers, water/weather barriers, and other adjacent construction. Comply with ASTM E2112.

D. Set sill members in bed of sealant or with gaskets, as indicated, to provide weathertight construction.

Retain paragraph below only for aluminum-clad sliding wood-framed glass doors.

E. Separate aluminum and other corrodible surfaces from sources of corrosion or electrolytic action at points of contact with other materials in accordance with ASTM E2112, Section 5.12, "Dissimilar Materials."

Insert article for field testing if required by Project.

3.3 FIELD QUALITY CONTROL

Retain this article if field tests are required. Small projects may not need testing. If retaining, indicate number of doors to be tested. Field tests for air and water leakage should be specified for significant projects.

Retain first option in "Testing Agency" Paragraph below if Owner hires an independent testing agency.
A. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

1. Testing and inspecting agency will interpret tests and state in each report whether tested work complies with or deviates from requirements.

Revise "Testing Services" Paragraph below if more stringent testing is required. AAMA 502 Test Method A is default unless otherwise indicated.

B. Testing Services: Test and inspect installed sliding wood-framed glass doors as follows:

1. Testing Methodology: Test sliding wood-framed glass doors for air infiltration and water resistance in accordance with AAMA 502.

2. Air-Infiltration Testing:

a. Test Pressure: That required to determine compliance with AAMA/WDMA/CSA 101/I.S.2/A440 performance class indicated.

b. Allowable Air-Leakage Rate: [1.5] <Insert number> times the applicable AAMA/WDMA/CSA 101/I.S.2/A440 rate for product type and performance class rounded down to one decimal place.

3. Water-Resistance Testing:

a. Test Pressure: [Two-thirds] <Insert number> times test pressure required to determine compliance with AAMA/WDMA/CSA 101/I.S.2/A440 performance grade indicated.

b. Allowable Water Infiltration: No water penetration through the unit.

4. Testing Extent: [Three] [Three mockup] <Insert number or description> sliding wood-framed glass doors of each type as selected by Architect and a qualified independent testing and inspecting agency. Conduct tests after perimeter sealants have cured.

5. Test Reports: Prepared in accordance with AAMA 502.

See Section 014000 "Quality Requirements" for retesting and reinspecting requirements and Section 017300 "Execution" for requirements for correcting the Work.

C. Sliding wood-framed glass door will be considered defective if it does not pass tests and inspections.

3.4 ADJUSTING, CLEANING, AND PROTECTION

A. Lubricate hardware and moving parts.

B. Adjust operating panels and screens to provide a tight fit at contact points and weather stripping for smooth operation, without binding, and weathertight closure.

C. Adjust hardware for proper alignment, smooth operation, and proper latching without unnecessary force or excessive clearance.

D. Clean exposed surfaces immediately after installing sliding wood-framed glass doors. Avoid damaging protective coatings and finishes. Remove nonpermanent labels, excess sealants, glazing materials, dirt, and other substances.

E. Remove and replace glass that has been broken, chipped, cracked, abraded, or damaged during construction period.

F. Protect sliding wood-framed glass door surfaces from contact with contaminating substances resulting from construction operations. If contaminating substances contact sliding wood-framed glass door surfaces, remove contaminants immediately in accordance with manufacturer's written instructions.

Retain first paragraph below if sliding doors are factory finished.

G. Refinish or replace sliding doors with damaged finishes.

H. Replace damaged components.

END OF SECTION 081816.19
	SLIDING WOOD-FRAMED GLASS DOORS
	081816.19 - 5



